**Request for Information – Feedback Summary Sheet**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Request made by:** | | Claire Horsfield | | **Responses to be sent back to:** | Claire.horsfield@lthtr.nhs.uk |
| **Date request made:** | | 7th Jan 2021 | | **Date sent out:** | 8th Jan 2021 |
| **Details of Request:** | | Dear all  So our Trust has been utilising “ready rooms” for quite some time on our wards as temporary side-rooms in support of Covid patients.  Given the implications of super surge can I ask are there any specific “ready rooms” available for CrCU units that take into account the level of equipment used, the current options are not suitable.  Just wondered if other ICUs have anything they are using or know of options.  Kind regards,  **Karen**  **Karen Hatch** | | | |
| **No.** | **Response Received From:** | | **Details of Response:** | | |
| 1 | Helen Williams  Matron / Metron  Critical Care Unit, AIT,POAC, Pain Services, ACCP / Uned Gofal Credigol, AIT, POAC,Pain Services, ACCP  Betsi Cadwaladr University Health Board • Bwrdd Iechyd Prifysgol  Wrexham Maelor Hospital, Croesnewydd Road, Wrexham, LL13 7TD  Ysbyty Maelor Wrecsam, Ffordd Croesnewydd, Wrecsam, LL13 7TD  Tel •Ffon: 03000 847120  Bleep 5447  Email • Ebost: HELEN.WILLIAMSITU@wales.nhs.uk | | Dear Claire,  We have used Bioquell Ice pods previously but have found the space too small for a Level 3 patient. We usually accommodate basic Level 2 patients in this space. One drawback is that they do not have handwashing facilities inside.  Kind Regards,  Helen | | |
| 2 | Wales ODN | | We use the redirooms in Hywel dda in critical care but they are far from ideal as the space is very limited and you could not fit a vent and filter in. No other option for us though as we needed more segregation areas and we have to just utilise the space as best as possible. We did order the extra long canopies and we are able to intubate (just) in the rooms.  Thanks  Meryl | | |
| 3 |  | |  | | |
| 4 |  | |  | | |
| 5 |  | |  | | |
| 6 |  | |  | | |
| 7 |  | |  | | |
| 8 |  | |  | | |
| 9 |  | |  | | |
| 10 |  | |  | | |
| 11 |  | |  | | |
| 12 |  | |  | | |